The operation steps are as follows:

1, download "Update Firmware Tool.zip", unzip.

2, Double Click “ FlashHelper.exe”, open the software.

3. select the firmware that you need to download, firmware is zip file, and do not need to decompress.

4. Input the IP address of the gateway

5. click the "Download" button.

4, after the download is completed, we can hear the "Di~" of the gateway.

And then the gateway is restarted.